[To be filled in and changed to black by local training center] LOCAL TO DELETE THIS LINE

IRONWORKERS LOCAL [*XX*] TRAINING CENTER – COURSE SYLLABUS

# 000MT3 – Mass Timber Construction Training for Ironworkers

# General Course Information:

## Course Description:

This blended learning course is designed to prepare the Ironworker to safely erect mass timber structures. This course will focus on the basics of mass timber construction, the benefits and limitations of mass timber construction, mass timber preconstruction practices, moisture control, site safety, and how to install mass timber products. The Ironworker will first complete a series of self-paced learning modules using the Learning Management System (LMS) and complete a course knowledge assessment. The Ironworker will then attend an 8-hour hands-on course to learn to erect and dismantle a mass timber construction mock-up.

## Prerequisites:

Participants must be ironworker apprentices and journeymen. The participant must have completed the OSHA 10 or OSHA 30 course and must have completed the Ironworker rigging course or be a qualified rigger.

## Length of the Hands-on Component of the Course (minimum):

8 hours

## Course Objectives:

Upon successful completion of this course, the participant demonstrate the ability to install mass timber construction products.

Specifically, the participant will be able to:

- Identify the fundamentals of mass timber construction

- Identify the benefits of mass timber construction

- Identify the limitations of mass timber construction

- Identify mass timber preconstruction practices

- Identify principles of mass timber moisture control

- Demonstrate construction site safety best practices

- Prepare to install mass timber products

- Install mass timber products

Safety:

Safety is an integral component in all aspects of this course. Hazard awareness, safe procedures, and proper use of PPE will be emphasized in all classroom and hands-on instruction as appropriate.

# Course Materials:

## Recommended Text: Mass Timber Construction Reference Manual (Part of the Ironworker Green Energy Series)

Note that this reference manual is the foundation of the self-paced learning modules. However, Ironworkers may want a printed copy for reference on the job site.

In addition to the recommended text (1 per participant), the following materials are used in this course:

- Course syllabus and schedule (1 per participant)

- PowerPoint presentation for the instructor

- Mass Timber Construction Mock-up Shop Drawings (1 copy of Page 1 per pair of Ironworkers)

- Mass Timber Construction Mock-up Erection Drawings (10 drawings – 1 set per pair of Ironworkers)

- Course evaluation form (1 per participant)

## Other Materials or Equipment:

- Computer and projector for classroom presentations

- Electronic copies of the mock-up shop and erection drawings to project in the classroom

# Course Structure:

## Attendance:

Attendance for all sessions is required to complete minimum instructional hours. Make up sessions must be scheduled for all missed instructional time and assignments.  Accurate attendance records shall be maintained.

## Assignments:

Participants will be required to complete all:

- Minimum RTI hours

- Self-paced modules through the LMS

- Course knowledge assessment

## Course Schedule:

- See 1-day course schedule.

## Grading Criteria:

To earn a passing grade in this course, a minimum final score/grade of 70% is required.  Grading requirements and final score are calculated as follows:

- Minimum related technical instruction hours are mandatory.

- Completion of all self-paced modules through the LMS

- Course knowledge assessment must be passed with a minimum score of 70%.  A failed test may be retaken.

- Grades will be recorded and maintained on file at the training center

# Completion Certificate:

# A completion Certificate can be obtained by successfully completing this course and passing the course knowledge assessment.